## Slide 1
25th HNPS, 3-4 June 2016
Antigoni Kalamara
197Au(n,xn) reactions
at TSL high energy neutron facility
at Uppsala
NATIONAL TECHNICAL
UNIVERSITY OF ATHENS
UPPSALA
UNIVERSITET

## Slide 2
Motivation
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
Studies of excitation functions of nuclear reactions are of considerable importance for testing nuclear models as well as for practical applications.
Neutron induced reactions on 197Au are used as reference reactions thus it is very important to have complete and reliable data.
The residual nuclei from the 197Au(n,xn) channels have reasonable half-lives and can be measured using the activation method, providing a complete set of exit channels for testing nuclear models.
Above 20 MeV, existing data for the (n,3n) and (n,4n) reactions were obtained with very poor statistics and present many discrepancies among them, while for the (n,5n) and (n,6n) channels, only few data points exist.
Above 20 MeV a truly monoenergetic neutron beam is not feasible in a strict sense. However, for certain nuclear reactions there is a strong dominance of neutrons in a narrow energy range and such neutron sources are often called “quasi-monoenergetic”.

## Slide 3
The interaction n + 197Au
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
197Au (n,2n) 196Au
Τ1/2 = 6.2 h
197Au (n,3n) 195Au
Τ1/2 = 186.1 d
197Au (n,4n) 194Au
Τ1/2 = 38.0 h
197Au (n,5n) 193Au
Τ1/2 = 17.7 h
197Au (n,6n) 192Au
Τ1/2 = 3.2 h
197Au (n,7n) 191Au
Τ1/2 = 3.2 h

## Slide 4
The interaction n + 197Au
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
197Au (n,2n) 196Au
Τ1/2 = 6.2 h
197Au (n,3n) 195Au
Τ1/2 = 186.1 d
197Au (n,4n) 194Au
Τ1/2 = 38.0 h
197Au (n,5n) 193Au
Τ1/2 = 17.7 h
197Au (n,6n) 192Au
Τ1/2 = 3.2 h
197Au (n,7n) 191Au
Τ1/2 = 3.2 h
The most popular reaction for the production of a quasi-monoenergetic neutron beam above 20 MeV is 7Li(p,n)7Be.
TSL  The Svedberg Laboratory
(Uppsala)

## Slide 5
The interaction n + 197Au
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
197Au (n,2n) 196Au
Τ1/2 = 6.2 h
197Au (n,3n) 195Au
Τ1/2 = 186.1 d
197Au (n,4n) 194Au
Τ1/2 = 38.0 h
197Au (n,5n) 193Au
Τ1/2 = 17.7 h
197Au (n,6n) 192Au
Τ1/2 = 3.2 h
197Au (n,7n) 191Au
Τ1/2 = 3.2 h
The most popular reaction for the production of a quasi-monoenergetic neutron beam above 20 MeV is 7Li(p,n)7Be.
A Gustaf Werner cyclotron is used for neutron production through:
beam ions with energy of ~13 MeV A-1
proton beam with energy variable in the 25-180 MeV range.
The energy of the produced peak neutrons is controllable in the 11-175 MeV range.
THE TSL NEUTRON BEAM FACILITY,
Radiation Protection Dosimetry (2007),
Vol. 126, No. 1–4, pp. 18–22, doi:10.1093
In order to determine the cross section of the (n,xn) reactions, the neutron energy distribution is needed, thus the characterization of the beam is of major importance.

## Slide 6
Overview of the irradiation lab.
p+7Li
n
CUP → Close User Position (~2 m)
SUP → Standard User Position (4 m)
Experimental setup at TSL
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
SUP
CUP
CUP
SUP
CUP
ToF measurements
p
Thin Film Breakdown Counters

## Slide 7
Activation Measurements
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
Following the irradiations, the induced activity on the samples was measured with a high-purity germanium (HPGe) detector of 80% relative efficiency, properly shielded with lead blocks in order to reduce the contribution of the natural radioactivity.
The detectors were calibrated using 152Eu, 133Ba and 137Cs sources.
The samples were placed at a distance of 10 cm from the detector window so that the corrections for coincidence summing become negligible.
10 cm

## Slide 8
Spectra Investigation
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
197Au(n,4n)194Au
197Au(n,5n)193Au
197Au(n,6n)192Au
197Au(n,7n)191Au
948.3 keV
255.6 keV
316.5 keV
586.5 keV
T1/2 = 38 h
T1/2 = 18 h

## Slide 9
MCNP5 Simulations
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
Au foil at SUP position
Foils at CUP position
Li target
The whole magnet
Fe wall
CUP
SUP
Proton beam dump tube
In order to study the neutron beam profile, MCNP5 simulations were performed taking into account the experimental set up in high detail.
3D-View

## Slide 10
MCNP5 Simulations
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
Concrete floor, ceiling and walls
Neutron energy distribution
CUP
MCNP5 Results
Lateral homogeneity within 3%.
The surrounding materials contribute to a low energy neutron tail which is not essential when studying threshold reactions.
In order to study the neutron beam profile, MCNP5 simulations were performed taking into account the experimental set up in high detail.
Check:
Lateral homogeneity of neutron flux on the target set up.
The effects of surrounding materials to the neutron flux.

## Slide 11
Estimation of the absolute neutron flux
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
The reaction rate can be determined theoretically according to this expres-sion:
Εi
The neutron flux in the target is taken from simulation.
The cross section of the reaction is determined by interpolating the TENDL data.
Moreover, the reaction rate can be defined experimentally with this expression:
Decay constant of the residual nucleus.
Number of the produced nuclei.
Number of the target nuclei.

## Slide 12
Estimation of the absolute neutron flux
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
After finding the normalization factor r:
The total absolute neutron flux can be estimated through the expression:
8.4 x 104 n/cm2 s

## Slide 13
Future work
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
To normalize the absolute value of the neutron spectrum and testify the results with well known reference reactions:
  27Al(n,a)
  93Nb(n,2n)
  238U(n,f)
To deduce the cross section of (n,4n), (n,5n) (n,6n) and (n,7n) reactions.
Theoretical calculations using the EMPIRE code.
The most accurate information about the neutron flux distribution will be provided from the ToF spectrum.

## Slide 14
Future work
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
To normalize the absolute value of the neutron spectrum and testify the results with well known reference reactions:
  27Al(n,a)
  93Nb(n,2n)
  238U(n,f)
To deduce the cross section of (n,4n), (n,5n) (n,6n) and (n,7n) reactions.
Theoretical calculations using the EMPIRE code.
The most accurate information about the neutron flux distribution will be provided from the ToF spectrum.
25th HNPS, 3-4 June 2016
A. Kalamara, R. Vlastou, M. Kokkoris, A. Stamatopoulos,
A. Mattera, M. Lantz, E. Passoth, A. Prokoviev and V. Rakopoulos

## Slide 15
Future work
To normalize the absolute value of the neutron spectrum and testify the results with well known reference reactions:
  27Al(n,a)
  93Nb(n,2n)
  238U(n,f)
To deduce the cross section of (n,4n), (n,5n) (n,6n) and (n,7n) reactions.
Theoretical calculations using the EMPIRE code.
The most accurate information about the neutron flux distribution will be provided from the ToF spectrum.
25th HNPS, 3-4 June 2016
A. Kalamara, R. Vlastou, M. Kokkoris, A. Stamatopoulos,
A. Mattera, M. Lantz, E. Passoth, A. Prokoviev and V. Rakopoulos

## Slide 16
Future work
To normalize the absolute value of the neutron spectrum and testify the results with well known reference reactions:
  27Al(n,a)
  93Nb(n,2n)
  238U(n,f)
To deduce the cross section of (n,4n), (n,5n) (n,6n) and (n,7n) reactions.
Theoretical calculations using the EMPIRE code.
The most accurate information about the neutron flux distribution will be provided from the ToF spectrum.
25th HNPS, 3-4 June 2016
A. Kalamara, R. Vlastou, M. Kokkoris, A. Stamatopoulos,
A. Mattera, M. Lantz, E. Passoth, A. Prokoviev and V. Rakopoulos

## Slide 17
j
TFBC’s
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016
TFBC  Thin Film Breakdown Counter
Fissionable Target
238U(n,f) reaction
238U
HV
The electric field between the two electrodes is sufficient to induce a breakdown once a fission product creates free charges in the dielectric layer. The current generated produces a detectable signal and at the same time evaporates a portion of the electrode, interrupting the short-circuit.
Breakdown discharge
Fission product
Stop signal!
Two electrodes separated
by a dielectric layer

## Slide 18
j
Different neutron beam apertures
Antigoni Kalamara, NTUA 25th ΗΝPS, June 2016